**Regular Meeting**

April 11, 2023

The Village of North Lewisburg Council met on April 11th, 2023 at 6:30 PM in the Village Community Room.

Mayor Murphy called the meeting to order. Roll call was answered by Beech, Nobbs, Ohashi, Street, A. Warner, and M. Warner. All present joined in the Pledge of Allegiance.

Street made a motion to accept the March meeting minutes, A. Warner seconded, all in favor. M. Warner motioned to accept the financials, Nobbs seconded, all in favor.

**FISCAL OFFICER:**

Fiscal Officer McCombs presented Findings for Recovery issued in favor of the Village of North Lewisburg to the council and citizens.

**MAYOR:**

Mayor Murphy thanked all village employees for their contributions getting the Village ready for spring. He also let council and citizens know there will be a circus coming to town Saturday May 20th.

**ADMINISTRATOR:**

Administrator Freyhof let council know the Waste Water defective air blower has been repaired the with a used unit we found on ebay for $2350. He thanked Fiscal Officer McCombs for finding this unit. A new back up unit has been ordered that will arrive in the fall timeframe. The alternative was a $4000-$5000 a month rental until the fall.

Administrator Freyhof let council know the LMI study is complete. The survey determined the Village has an LMI of 54.83%. This will potentially help qualify the Village for more Grants and Funding.

**STAFF REPORTS:**

The North Lewisburg Policing Activity Report was given forMarch. 31 Warnings and 5 Citation and 2 Warrant arrests

Administrator Freyhof let council there was a significant source of ground water infiltration discovered in the manholes between Abbey Lane and The Meadows. Employees have plugged the openings and are continuing to search for more sources of infiltration. The Village will be placing flow meters at various manholes throughout town. This will start on the West End as that seems to be where the majority of infiltration is originating from.

Administrator Freyhof gave a few updates on projects. The water tower maintenance for the West Tower is anticipated to begin in May/June and The East Tower in September. We are being encouraged to use temporary pneumatic storage tanks while offline. The ETA on the New Fine Screen is mid-April. There are no current updates on The Regionalization. A defective county tile that was brining ground water to the east side of town has been repaired.

**RESOLUTION/ ORDINANCE:**

|  |  |
| --- | --- |
| > | Resolution 4-11-2023(A) RPIG Sewer Line Upgrade. We are having capacity problems on the West End of Town. This project is to install an upgraded line to increase capacity and allow for future growth on The West End. M. Warner Motioned to accept, Ohashi seconded, all in favor. |
| > | Resolution 4-11-2023(B) CDBG Water System Upgrades. This project includes a new Village Well and Rebulding of the Aeration Unit. M. Warner motioned to accept, Nobbs seconded, all in favor. |
| > | Resolution 4-11-2023(C) ODNR Bike Trail/Parking Lot Maintenance Street motioned, Beech seconded, all in favor. |
| >  | Resolution 4-11-2023(D) Allocation of $20,000. for Police 139 East St. Street motioned, Nobbs seconded, all in favor. |
| > | Resolution 4-11-2023(E) Temporary Storage West Tank Project M. Warner motioned, Street seconded, all in favor. |

M. Warner motioned to adjourn, Street seconded, all in favor.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_

Mayor Fiscal Officer Date